[image: image1.png]


[image: image2.jpg]


ORISSA STATE FINANCIAL CORPORATION

HEAD OFFICE

OMP SQUARE, CUTTACK-753 003




         FAX    :0671-2443644, 2444193

                                              EPABX  : 2443072, 2443236, 2443923, 2443337, 2443273

Website : www.osfcindia.com       E-Mail : osfcho@osfcindia.com

No.OSFC/23/785/07-08                                                                   Dt.07.03.2008

TENDER CALL NOTICE


Sealed tender in the prescribed tender forms are invited from registered electrical contractor / Firms having valid electrical service license and sufficient experience in the following nature of work in Centre/State Govt. or Center / State Govt. PSU or industry of repute for the renovation, re-electrification work of the Head Office building of the Corporation located at OMP Square, Cuttack-3 as listed below :

a)
Type of Work : Dismantling of Existing Electrification wiring and new surface type wiring by PVC and half concealed iron boards for switch & Sockets in G+ 2 storied H.O. Building (and adjacent building).

	Sl.No.
	Description of Work
	Quantity

	1
	Fan point
	53 nos.

	2
	Light Point
	155 nos

	3
	Exhaust Fan Point
	3 nos

	4
	Stand fan point
	36 nos

	5
	Air conditioner Point
	18 nos

	6
	Computer Point
	47 nos

	7
	Extra 6 Amp. Switch & sockets
	34 nos

	8
	Extra 16 Amp Switch & Sockets
	27 nos

	9
	3- Phase motor point
	2 nos

	10
	Fax point
	2 nos

	11
	T. V. Point
	1 no

	12
	EPABX machine point
	1 no

	13
	Xerox machine Point
	1 no

	14
	Water Cooler Point
	1 no

	15
	Aqua guard Point

	1 no

	16
	Cable dismantling and laying through trench & reconnection
	40 mtrs.

	17
	Separate Provision for UPS (10 KW load)
	1 no

	18
	Fixing of BDS
	18 nos

	19
	Main cable wiring (main panel to BDS)
	100 mtrs.

	20
	Sub-main wiring (40 switch board)
	655 mtrs.

	21
	Running earth for body
	250 mtrs

	22
	Running earth for computers
	300 mtrs

	23
	Earthing station
	8 nos.

	24
	Dismantling of old batten wiring
	



(All the materials to be used should be reputed brand and with ISI specification)

e.g : Finolex for wires, Anchor/Cona for switches, MCB of Siemens etc.
[  2  ]

b)
Estimated Cost : Rs.2,40,966/- (Rupees two lakh forty thousand nine hundred sixty six only).

c)
Cost of Tender Paper – Rs.500/- (Rupees five hundred only).

d)
Time of Completion – 45 days (Forty five) days

The tender papers may be obtained from the office of the undersigned on payment of Rs.500/- (Rupees five hundred) only (Non-refundable) by paying cash at the cash counter of the Head Office of the Corporation or by crossed Demand Draft drawn in favour of OSFC payable at Cuttack from dt. 10.03.2008 to  dt. 24.03.2008   between 10.00 A.M. to 3.00 P.M.  Tender papers will also be made available by downloading from Corporation’s website www.osfcindia.com and they are required to deposit the cost of tender form (Rs.500/-) in shape of A/c payee Bank Draft in favour of OSFC. 


Tender along with Earnest money deposit (EMD) of 1% of tendered amount in the form of A/c payee Demand Draft from any nationalized Bank drawn in favour of     “Orissa State Financial Corporation” payable at CUTTACK shall be submitted in a double sealed cover superscribing on the outer envelop “Tender for Re-electrification Work” to the Deputy General Manager (HR & OM), OSFC, OMP Square, Cuttack-753003. In-complete tenders or tender received without EMD will be rejected. Last date for submission of tenders is Dt 24.03.2008 up to 3.00 P.M. and same will be opened on Dt. 25.03.2008 at 11.30 A.M. in the presence of Tenderers or their authorized representative. Tender with unpledged EMD, part EMD and those received beyond schedule date and time as well as conditional tender shall be automatically rejected. Any other information relating to the tender can be had from the office of the undersigned during the office working days and working hours. The authorities of the Corporation reserves the right to accept or reject any or all the tenders in part/full without assigning any   reason thereof.


Please visit our website www.osfcindia.com for complete details. The detail terms & conditions of Tender is available with the Tender paper.

                                                       Sd/-
                            Deputy General Manager (HR & OM)

Memo No.OSFC/23/786  /07-08

                                                   Date:07.03.2008

Copy to Chief Information Officer/Dy. Manager (Computer),OSFC to hoist in the website/Notice Board of H.O./Madhupatna Building, Cuttack.

                                                       Sd/-








 Deputy General Manager (HR & OM)













